## N1
SAMPLE DATE |  | 2009-10-09 | 2010-03-21 | 2010-09-02 | 2011-04-28 | 2011-11-10 | 2013-07-30 | 2014-06-06 | 2014-07-09 | 2015-03-26 | 2015-04-03 | 2015-05-31 | 2015-06-19 | 2015-07-02 | 2016-07-01 | 2017-04-29 | 2017-05-02 | 2018-02-21 | 2018-03-28 | 2018-08-31
SAMPLE SITE | bar: 2009-10-09 to 2018-08-31
PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Total Nitrogen | mg/L | 1.71 | 1.96 | 3.21 | 6.96 | 2.39 | 1.8 | 2.84 | 1.67 | 1.96 | 1.91 | 3.08 | 2.54 | 2.07 | 1.15 | 1.37 | 1.59 | 1.73 | 2.28 | 0.57
Total Phosphorus | mg/L | 0.179 | 0.062 | 0.088 | 1.176 | 0.639 | 0.483 | 0.114 | 0.261 | 0.056 | 0.121 | 0.443 | 1.288 | 0.566 | 1.137 | 0.172 | 0.032 | 0.053 | 0.125 | 0.537
Chloride | mg/L | 7.46 | 10.31 | 5.55 | 6.66 | 4.89 | 1.7 | 43.2 | 1.6 | 13.3 | 12.5 | 8.6 | 7.1 | 5.8 | 3.6 | 5.6 | 7.2 | 19.5 | 19 | 0.8
Specific Conductivity | mS/cm | 27.2 | 25.8 | 55.5 | 40.3 | 13.3 | 95.2 | 52 | 51 | 355 | 313 | 198.7 | 230 | 88 | 125.3 | 215 | 338 | 244 | 426 | 71.9
ph | units | 5.89 | 7.98 | 6.03 | 6.91 | 6.73 | 7.5 | 6.616.7 | 7.1 | 7.4 | 7.4 | 6.7 | 6.8 | 7.8 | 6.7 | 7.1 | 7 | 5.2 | 7.2 | 7.2
Total Suspended Solids | mg/L | 4.7 | 11.5 | 4.3 | 1308 | 14 | 228 | n/a | 104.7 | 6.4 | 7 | 629 | 1574 | 914 | 175 | 28 | 0 | 11.3 | 98.7 | 840
TSS
| 9 | 2009-10-09: 4.7; 2013-07-30: 4.7; 2014-06-06: 4.7
| 10 | 2009-10-09: 11.5; 2010-03-21: 4.3; 2013-07-30: 15.8; 2014-06-06: 7.9
| 11 | 2009-10-09: 1308; 2010-03-21: 14; 2013-07-30: 1322; 2014-06-06: 661
| 13 | 2009-10-09: 228; 2013-07-30: 228; 2014-06-06: 228
| 14 | 2009-10-09: 104.7; 2013-07-30: 104.7; 2014-06-06: 104.7
| 15 | 2009-10-09: 6.4; 2010-03-21: 7; 2010-09-02: 629; 2011-04-28: 1574; 2011-11-10: 914; 2013-07-30: 3130.4; 2014-06-06: 626.08
| 16 | 2009-10-09: 175; 2013-07-30: 175; 2014-06-06: 175
| 17 | 2009-10-09: 28; 2010-03-21: 0; 2013-07-30: 28; 2014-06-06: 14
| 18 | 2009-10-09: 11.3; 2010-03-21: 98.7; 2010-09-02: 840; 2013-07-30: 950; 2014-06-06: 316.6667
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N1TN
N1 | TOTAL NITROGEN
Date | TN conc | Detection Limit | Laboratory | Replicate | Laboratory
of |  | (mg/l) | Regent Blank | (%) | Spike
Collection |  |  | (mg/l)
|  | < 0.1 mg/l | < 0.1 mg/l prefered | ± 20% required | 100 ± 20% required
2009-10-09 | 1.71 | n/a | n/a | n/a | n/a
2010-03-21 | 1.96 | n/a | n/a | n/a | n/a
2010-09-02 | 3.21 | n/a | n/a | n/a | n/a
2011-04-28 | 6.96 | n/a | n/a | n/a | n/a
2011-11-10 | 2.39 | n/a | n/a | n/a | n/a
2013-07-30 | 1.8 | n/a | n/a | n/a | n/a
2014-06-06 | 2.84 | n/a | n/a | n/a | n/a
2014-07-09 | 1.67 | 0.07 | 0.024 | 12.7 | 105
2015-03-26 | 1.96 | 0.06 | <DL | -3.4 | 90.5
2015-04-03 | 1.91 | 0.09 | <DL | 2.6 | 93.6
2015-05-31 | 3.08 | 0.08 | <DL | -0.9 | 85.1
2015-06-19 | 2.54 | 0.04 | <DL | 0.6 | 87.2
2015-07-02 | 2.07 | 0.04 | <DL | 0.6 | 87.2
2016-07-01 | 1.15 | 0 | 0 | 4.7 | 86
2017-04-29 | 1.37 | 0.04 | 0.03 | 1.7 | 95.2
2017-05-02 | 1.59 | 0.04 | 0.03 | 1.7 | 95.2
2017-05-04 | 1.73 | 0.04 | 0.03 | 1.7 | 95.2
2018-02-21 | 1.73 | 0.09 | <DL | 1.1 | 87.8
2018-03-28 | 2.28 | 0.03 | <DL | 1.9 | 99.8
2018-08-31 | 0.57 | 0.02 | <DL | 1 | 97.1
2018-09-08 | 1.46 | 0.02 | <DL | 1 | 97.1
n/a = This information not provided by OEWRI
<DL = under the detection limit

## NITP
N1 | TOTAL PHOSPHORUS
Date | TN conc | Detection Limit | Laboratory | Replicate | Laboratory
of |  | (mg/l) | Regent Blank | (%) | Spike
Collection |  |  | (mg/l)
|  | < 0.1 mg/l | < 0.1 mg/l prefered | ± 20% required | 100 ± 20% required
2009-10-09 | 0.179 | n/a | n/a | n/a | n/a
2010-03-21 | 0.062 | n/a | n/a | n/a | n/a
2010-09-02 | 0.088 | n/a | n/a | n/a | n/a
2011-04-28 | 1.176 | n/a | n/a | n/a | n/a
2011-11-10 | 0.639 | n/a | n/a | n/a | n/a
2013-07-30 | 0.483 | n/a | n/a | n/a | n/a
2014-06-06 | 0.114 | n/a | n/a | n/a | n/a
2014-07-09 | 0.261 | 0.003 | -0.001 | 1.3 | 100.6
2015-03-26 | 0.056 | 0.005 | <DL | 2.8 | 93
2015-04-03 | 0.121 | 0.003 | <DL | -2.7 | 87.6
2015-05-31 | 0.443 | 0.001 | <DL | -1.2 | 97.5
2015-06-19 | 1.288 | 0.003 | <DL | -2.4 | 92.3
2015-07-02 | 0.566 | 0.003 | <DL | -2.4 | 92.3
2016-07-01 | 1.137 | 0.002 | 0.002 | 1.2 | 9.2
2017-04-29 | 0.172 | 0.002 | 0.001 | 2.2 | 102.8
2017-05-02 | 0.032 | 0.002 | 0.001 | 2.2 | 102.8
2017-05-04 | 0.032 | 0.002 | 0.001 | 2.2 | 102.8
2018-02-21 | 0.053 | 0.004 | <DL | 1.8 | 106.3
2018-03-28 | 0.125 | 0.002 | <DL | 0 | 113
2018-08-31 | 0.537 | 0.001 | <DL | 1.2 | 116.1
2018-09-08 | 1.98 | 0.001 | <DL | 1.2 | 116.1
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N2
SAMPLE DATE |  | 2009-02-27 | 2009-03-25 | 2009-04-20 | 2009-04-30 | 2009-06-16 | 2009-09-10 | 2009-10-06 | 2010-02-21 | 2010-03-25 | 2010-09-24 | 2011-02-26 | 2011-03-03 | 2011-08-08 | 2011-10-19 | 2012-03-01 | 2012-08-17 | 2012-09-17 | 2013-07-26 | 2014-04-28 | 2014-06-24 | 2014-10-03 | 2015-03-10 | 2015-03-26 | 2015-04-03 | 2015-05-08 | 2015-06-15 | 2015-07-02 | 2015-11-06 | 2016-02-24 | 2016-03-24 | 2016-05-12 | 2016-06-24 | 2017-09-26 | 2017-01-17 | 2017-03-25 | 2017-07-28 | 2017-10-15 | 2018-01-08 | 2018-03-28 | 2018-03-28 | 2018-06-21
SAMPLE SITE |  | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2 | N2
PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Total Nitrogen | mg/L | 1.45 | 1.34 | 0.94 | 1.65 | 0.82 | 2.32 | 2.72 | 38.02 | 2.02 | 3.68 | 0.24 | 0.84 | 2.19 | 1.8 | 1.59 | 2.11 | n/a | 0.97 | 3.82 | 1.58* | 2.51 | 2.34 | 3.09 | 2.3 | 2.9 | 3.66 | 1.98 | 0.96 | 2.52 | 2.3 | 5.24 | 0.31 | 2.31 | 0.62 | 0.27 | 1.95 | 0.21 | 2.86 | 1.71 | 1.98 | 2.64
Total Phosphorus | mg/L | 0.2 | 0.167 | 0.101 | 0.08 | 0.236 | 0.125 | 0.368 | 1.964 | 0.257 | 0.238 | 0.27 | 0.463 | 0.336 | 0.281 | 0.334 | 0.346 | n/a | 0.378 | 0.811 | 0.182 | 0.425 | 0.11 | 2.027 | 0.448 | 0.362 | 0.388 | 0.463 | 0.169 | 0.387 | 0.324 | 0.35 | 0.827 | 0.337 | 0.125 | 0.771 | 0.298 | 0.421 | 0.398 | 0.379 | 0.213 | 0.394
Chloride | mg/L | 3.93 | 3.95 | 3.01 | 3.06 | 5.03 | 44.5 | 1.23 | 99.85 | 26.48 | 5.24 | 88.16 | 3.825 | 1.97 | 4.69 | 3.5 | 8 | n/a | 18.1 | 39 | 28.6 | 7.9 | 32.4 | 20.2 | 21.2 | 11.8 | 359.7 | 23.1 | 24 | 318.5 | 8.8 | 20 | 7.6 | 2.9 | 109 | 15.2 | 6.12 | 5.2 | 136.5 | 19.1 | 16.2 | 27.7
Specific Conductivity | mS/cm | 7 | 12.5 | 13.7 | 19.3 | 18.9 | 17.6 | 9.6 | 97.6 | 32.6 | 12 | 63.2 | 11.6 | 17.3 | 17.2 | 7.1 | 14.1 | n/a | 126.5 | 386 | 199 | 213 | 281 | 172.2 | 183.9 | 158.9 | 1392 | 137.4 | 159 | 1350 | 117.3 | 189.9 | 215 | 95.3 | 446 | 159 | 165 | 156 | 603 | 189 | 181 | 247
ph | units | 6.4 | 7.01 | 7.33 | 8.14 | 6.47 | 7.07 | 6.45 | 6.73 | 5.83 | 8.98 | 6.97 | 6.69 | 6.89 | 6.52 | 8.57 | 6.7 | n/a | 7.9 | 7.1 | 6.89 | 5.8 | 7.5 | 7.9 | 7.7 | 7.7 | 6.8 | 7.4 | 6.5 | 7.2 | 7 | 6.9 | 6.6 | 6.7 | 7.7 | 7.7 | 6.8 | 6.2 | 6.7 | 7.6 | 7.4 | 6.9
Total Suspended Solids | mg/L | 590.5 | 193.6 | 36.7 | 90 | 420 | 13.7 | 231 | 62.8 | 187 | 17.5 | 72 | 56.7 | 40 | 2.5 | 256.5 | 204 | n/a | 20 | 527 | 109.2 | 28.7 | 18 | 822 | 430 | 94 | 319 | 29.2 | 30.5 | 323.3 | 129.3 | 35.5 | 34.7 | 97.5 | 22.8 | 1207 | 346 | 110 | 70.7 | 507 | 41.3 | 86
TSS
| 9 | 590.5 | 193.6 | 36.7 | 90 | 420 | 13.7 | 231 | 1575.5 | 225.0714
| 10 | 62.8 | 187 | 17.5 |  |  |  |  | 267.3 | 89.1
| 11 | 72 | 56.7 | 40 | 2.5 |  |  |  | 171.2 | 42.8
| 12 | 256.5 | 204 | n/a |  |  |  |  | 460.5 | 230.25
| 13 | 20 | [6 empty] | 20 | 20
| 14 | 527 | 109.2 | 28.7 |  |  |  |  | 664.9 | 221.6333
| 15 | 18 | 822 | 430 | 94 | 319 | 29.2 | 30.5 | 1742.7 | 248.9571
| 16 | 323.3 | 129.3 | 35.5 | 34.7 |  |  |  | 522.8 | 130.7
| 17 | 97.5 | 22.8 | 1207 | 346 | 110 |  |  | 1783.3 | 356.66
| 18 | 70.7 | 507 | 41.3 | 86 |  |  |  | 705 | 176.25
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N2TN
N2 | TOTAL NITROGEN
Date | TN conc | Detection Limit | Laboratory | Replicate | Laboratory
of |  | (mg/l) | Regent Blank | (%) | Spike
Collection |  |  | (mg/l)
|  | < 0.1 mg/l | < 0.1 mg/l prefered | ± 20% required | 100 ± 20% required
2009-02-27 | 1.45 | n/a | n/a | n/a | n/a
2009-03-25 | 1.34 | n/a | n/a | n/a | n/a
2009-04-20 | 0.94 | n/a | n/a | n/a | n/a
2009-04-30 | 1.65 | n/a | n/a | n/a | n/a
2009-06-16 | 0.82 | n/a | n/a | n/a | n/a
2009-09-10 | 2.32 | n/a | n/a | n/a | n/a
2009-10-06 | 2.72 | n/a | n/a | n/a | n/a
2010-02-21 | 38.02 | n/a | n/a | n/a | n/a
2010-03-25 | 2.02 | n/a | n/a | n/a | n/a
2010-09-24 | 3.68 | n/a | n/a | n/a | n/a
2011-02-26 | 0.24 | n/a | n/a | n/a | n/a
2011-03-03 | 0.84 | n/a | n/a | n/a | n/a
2011-08-08 | 2.19 | n/a | n/a | n/a | n/a
2011-10-19 | 1.8 | n/a | n/a | n/a | n/a
2012-03-01 | 1.59 | n/a | n/a | n/a | n/a
2012-08-17 | 2.11 | n/a | n/a | n/a | n/a
2012-09-17 | n/a | n/a | n/a | n/a | n/a
2013-07-26 | 0.97 | n/a | n/a | n/a | n/a
2014-04-28 | 3.82 | n/a | n/a | n/a | n/a
2014-06-24 | 1.58* | 0.03 | -0.007 | -8 | 85.8
2014-10-03 | 2.51 | 0.06 | -0.026 | 3.1 | 103.3
2015-03-10 | 2.34 | 0.07 | <DL | -5.9 | 95.4
2015-03-26 | 3.09 | 0.06 | <DL | -3.4 | 90.5
2015-04-03 | 2.3 | 0.09 | <DL | 2.6 | 93.6
2015-05-08 | 2.9 | 0.06 | <DL | -0.4 | 88.8
2015-06-15 | 3.66 | 0.04 | <DL | 0.6 | 87.2
2015-07-02 | 1.98 | 0.04 | <DL | 0.6 | 87.2
2015-11-06 | 0.96 | 0.07 | <DL | 0 | 95.6
2016-02-24 | 2.52 | 0.08 | <DL | 2.1 | 99.5
2016-03-24 | 2.3 | 0.06 | <DL | 10.8 | 91.1
2016-05-12 | 5.24 | 0.08 | 0.03 | 2 | 94.6
2016-06-24 | 0.31 | 0 | 0 | 4.7 | 86
2016-09-26 | 2.31 | 0.03 | 0.01 | 3.3 | 96.1
2017-01-17 | 0.62 | 0.04 | 0.02 | 3.1 | 96.8
2017-03-25 | 0.27 | 0.05 | 0.02 | 4.9 | 93
2017-07-28 | 1.98 | 0.03 | 0.01 | 0.05 | 88.3
2017-10-15 | 0.21 | 0.04 | 0.02 | 0 | 95.3
2018-01-08 | 2.86 | 0.06 | 0.02 | 2 | 99.4
2018-03-28 | 1.71 | 0.03 | <DL | 1.9 | 99.8
2018-03-28 | 1.98
2018-04-23 | 1.98 | 0.04 | <DL | 2.1 | 104.6
2018-06-21 | 2.64 | 0.02 | <DL | 2.9 | 112.5
2018-08-01 | 0.94 | 0.07 | <DL | 6.5 | 97.1
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N2TP
N2 | TOTAL PHOSPHORUS
Date | TN conc | Detection Limit | Laboratory | Replicate | Laboratory
of |  | (mg/l) | Regent Blank | (%) | Spike
Collection |  |  | (mg/l)
|  | < 0.1 mg/l | < 0.1 mg/l prefered | ± 20% required | 100 ± 20% required
2009-02-27 | 0.2 | n/a | n/a | n/a | n/a
2009-03-25 | 0.167 | n/a | n/a | n/a | n/a
2009-04-20 | 0.101 | n/a | n/a | n/a | n/a
2009-04-30 | 0.08 | n/a | n/a | n/a | n/a
2009-06-16 | 0.236 | n/a | n/a | n/a | n/a
2009-09-10 | 0.125 | n/a | n/a | n/a | n/a
2009-10-06 | 0.368 | n/a | n/a | n/a | n/a
2010-02-21 | 1.964 | n/a | n/a | n/a | n/a
2010-03-25 | 0.257 | n/a | n/a | n/a | n/a
2010-09-24 | 0.238 | n/a | n/a | n/a | n/a
2011-02-26 | 0.27 | n/a | n/a | n/a | n/a
2011-03-03 | 0.463 | n/a | n/a | n/a | n/a
2011-08-08 | 0.336 | n/a | n/a | n/a | n/a
2011-10-19 | 0.281 | n/a | n/a | n/a | n/a
2012-03-01 | 0.334 | n/a | n/a | n/a | n/a
2012-08-17 | 0.346 | n/a | n/a | n/a | n/a
2012-09-17 | n/a | n/a | n/a | n/a | n/a
2013-07-26 | 0.378 | n/a | n/a | n/a | n/a
2014-04-28 | 0.811 | n/a | n/a | n/a | n/a
2014-06-24 | 0.182 | 0.001 | -0.001 | 0 | 104.8
2014-10-03 | 0.425 | 0.001 | 0.002 | 2.3 | 91.6
2015-03-10 | 0.11 | 0.003 | <DL | -2.4 | 103.5
2015-03-26 | 2.027 | 0.005 | <DL | 2.8 | 93
2015-04-03 | 0.448 | 0.003 | <DL | -2.7 | 87.6
2015-05-08 | 0.362 | 0.002 | <DL | -0.7 | 95.1
2015-06-15 | 0.388 | 0.003 | <DL | -2.4 | 92.3
2015-07-02 | 0.463 | 0.003 | <DL | -2.4 | 92.3
2015-11-06 | 0.169 | 0.004 | <DL | -0.8 | 105.7
2016-02-24 | 0.387 | 0.003 | 0.003 | 2.6 | 87.6
2016-03-24 | 0.324 | 0.002 | <DL | 3.8 | 97
2016-05-12 | 0.35 | 0.002 | 0 | 2.9 | 94.2
2016-06-24 | 0.827 | 0.002 | 0.002 | 1.2 | 9.2
2016-09-26 | 0.337 | 0.002 | 0.001 | 7 | 98.6
2017-01-17 | 0.125 | 0.003 | 0.001 | 1.3 | 101.2
2017-03-25 | 0.771 | 0.003 | 0.001 | 1.8 | 93.5
2017-07-28 | 0.298 | 0.001 | 0 | 0.4 | 105.7
2017-10-15 | 0.421 | 0.002 | 0.002 | 1.4 | 96.1
2018-01-08 | 0.398 | 0.004 | <DL | 0 | 103.5
2018-03-28 | 0.379 | 0.002 | <DL | 0 | 113
2018-03-28 | 0.213
2018-04-23 | 1.213 | 0.002 | <DL | 4.9 | 102.3
2018-06-21 | 0.394 | 0.004 | <DL | 0.5 | 96.2
2018-08-11 | 0.284 | 0.001 | <DL | 3.1 | 100.6
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N3
SAMPLE DATE |  | 2009-04-20 | 2009-05-01 | 2009-06-16 | 2009-09-10 | 2009-10-06 | 2010-03-25 | 2010-09-02 | 2010-11-26 | 2011-02-14 | 2011-04-28 | 2013-07-30 | 2014-06-06 | 2014-07-09 | 2014-10-14 | 2015-03-26 | 2015-04-03 | 2015-05-29 | 2015-06-19 | 2015-07-02 | 2015-11-17 | 2016-05-17 | 2016-07-01 | 2016-10-05 | 2017-03-25 | 2017-04-17 | 2017-05-04 | 2017-08-18 | 2018-02-21 | 2018-03-24 | 2018-03-24 | 2018-06-26
SAMPLE SITE |  | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3 | N3
PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N3 | n/a | n/a | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N3 | n/a | n/a | n/a | n/a | n/a
Total Nitrogen | mg/L | 0.78 | 1.14 | 1.39 | 1.93 | 2.19 | 4.32 | 1.15 | 0.93 | 1.07 | 5.77 | 3.37 | 1.68 | 1.84 | 1.08 | 1.54 | 2.15 | 1.82 | 1.83 | 2.59 | 1.23 | 1.77 | 1.94 | 1.19 | 0.74 | 1.88 | 0.97 | 1.36 | 1.31 | 1.88 | 1.23 | 3.15
Total Phosphorus | mg/L | 0.389 | 0.833 | 0.448 | 0.341 | 0.824 | 2.262 | 1.76 | 0.897 | 0.214 | 1.407 | 2.134 | 0.251 | 0.214 | 0.253 | 0.191 | 0.795 | 0.251 | 0.821 | 1.064 | 0.246 | 0.26 | 0.764 | 0.352 | 0.775 | 0.523 | 0.112 | 0.478 | 0.169 | 0.578 | 0.117 | 0.038
Chloride | mg/L | 4.02 | 11.1 | 9.41 | 2.28 | 3.29 | 6.733 | 0.26 | 5.3 | 8.2 | 2.02 | 5.4 | 3.4 | 0.9 | 2.6 | 7.1 | 4.4 | 1 | 3.1 | 5.4 | 2.3 | 4.5 | 3 | 1.1 | 2.9 | 2 | 3.5 | 2.61 | 19 | 5.6 | 3.6 | 14.7
Specific Conductivity | mS/cm | 24.5 | 27.7 | 35.8 | 11.6 | 15.7 | 36.3 | 15.7 | 16 | 34.6 | 23.1 | 260 | 154 | 118 | 124.2 | 235 | 149.2 | 44.4 | 148 | 83.3 | 98.3 | 111.1 | 163.7 | 38.5 | 135 | 115 | 195 | 165 | 301 | 152 | 300 | 428
ph | units | 7.26 | 7.03 | 6.53 | 8.18 | 6.26 | 5.93 | 6.15 | 8.17 | 7.58 | 6.83 | 7.4 | 6.2 | 7.3 | 7.5 | 8 | 7.9 | 5.6 | 7.6 | 7.2 | 7 | 7.7 | 7 | 6.3 | 7.5 | 7.2 | 7.3 | 6.8 | 7 | 7.7 | 7.9 | 8.2
Total Suspended Solids | mg/L | 700 | 1660 | 1120 | 153.5 | 26 | 4688 | 11820 | 529 | 127 | 5080 | 1262 | 21 | 9 | 351 | 20.5 | 1050 | 14 | 386 | 2112 | 409 | 402 | 922 | 8 | 621 | 315 | 22 | 258 | 4.7 | 845 | 4.7 | 4.7
TSS
| 9 | 0.78 | 1.14 | 1.39 | 1.93 | 2.19 |  | 7.43 | 1.486
| 10 | 4.32 | 1.15 | 0.93 |  |  |  | 6.4 | 2.133
| 11 | 1.07 | 5.77 |  |  |  |  | 6.84 | 3.42
12
| 13 | 3.37 | [5 empty] | 3.37 | 3.37
| 14 | 1.68 | 1.84 | 1.08 |  |  |  | 4.6 | 1.533
| 15 | 1.54 | 2.15 | 1.82 | 1.83 | 2.59 | 1.23 | 11.16 | 2.232
| 16 | 1.77 | 1.94 | 1.19 |  |  |  | 4.9 | 1.633
| 17 | 0.74 | 1.88 | 0.97 | 1.36 |  |  | 4.95 | 1.2375
| 18 | 1.31 | 1.88 | 1.23 | 3.15 |  |  | 7.57 | 1.8925
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N3TN
N3 | TOTAL NITROGEN
Date | TN conc | Detection Limit | Laboratory | Replicate | Laboratory
of |  | (mg/l) | Regent Blank | (%) | Spike
Collection |  |  | (mg/l)
|  | < 0.1 mg/l | < 0.1 mg/l prefered | ± 20% required | 100 ± 20% required
2009-04-20 | 0.78 | n/a | n/a | n/a | n/a
2009-05-01 | 1.14 | n/a | n/a | n/a | n/a
2009-06-16 | 1.39 | n/a | n/a | n/a | n/a
2009-09-10 | 1.93 | n/a | n/a | n/a | n/a
2009-10-06 | 2.19 | n/a | n/a | n/a | n/a
2010-03-25 | 4.32 | n/a | n/a | n/a | n/a
2010-09-02 | 1.15 | n/a | n/a | n/a | n/a
2010-11-26 | 0.93 | n/a | n/a | n/a | n/a
2011-02-14 | 1.07 | n/a | n/a | n/a | n/a
2011-04-28 | 5.77 | n/a | n/a | n/a | n/a
2013-07-30 | 3.37 | n/a | n/a | n/a | n/a
2014-06-06 | 1.68 | n/a | n/a | n/a | n/a
2014-07-09 | 1.84 | 0.07 | 0.024 | 12.7 | 105
2014-10-14 | 1.08 | 0.06 | -0.121 | -5.3 | 102.9
2015-03-26 | 1.54 | 0.06 | <DL | -3.4 | 90.5
2015-04-03 | 2.15 | 0.09 | <DL | 2.6 | 93.6
2015-05-29 | 1.82 | 0.08 | <DL | -0.9 | 85.1
2015-06-19 | 1.83 | 0.04 | <DL | 0.6 | 87.2
2015-07-02 | 2.59 | 0.04 | <DL | 0.6 | 87.2
2015-11-17 | 1.23 | 0.09 | <DL | 6.9 | 90
2016-05-17 | 1.77 | 0.08 | 0.03 | 2 | 94.6
2016-07-01 | 1.94 | 0 | 0 | 4.7 | 86
2016-10-05 | 1.19 | 0.03 | 0.01 | 3.3 | 96.1
2017-03-25 | 0.74 | 0.05 | 0.02 | 4.9 | 93
2017-04-17 | 1.88 | 0.04 | 0.03 | 1.7 | 95.2
2017-05-04 | 0.97 | 0.04 | 0.03 | 1.7 | 95.2
2017-08-18 | 1.36 | 0.07 | 0 | 3.9 | 88.5
2018-02-21 | 1.31 | 0.09 | <DL | 1.1 | 87.8
2018-03-24 | 1.88
2018-03-27 | 1.88 | 0.07 | <DL | 11.1 | 100.1
2018-03-24 | 1.23
2018-05-03 | 1.23 | 0.04 | <DL | 2.1 | 104.6
2018-06-26 | 3.15 | 0.02 | <DL | 2.9 | 112.5
2018-08-11 | 8.36 | 0.07 | <DL | 6.5 | 97.1
n/a = This information not provided by OEWRI
<DL = under the detection limit

## N3TP
N3 | TOTAL PHOSPHORUS
Date | TN conc | Detection Limit | Laboratory | Replicate | Laboratory
of |  | (mg/l) | Regent Blank | (%) | Spike
Collection |  |  | (mg/l)
|  | < 0.1 mg/l | < 0.1 mg/l prefered | ± 20% required | 100 ± 20% required
2009-04-20 | 0.389 | n/a | n/a | n/a | n/a
2009-05-01 | 0.833 | n/a | n/a | n/a | n/a
2009-06-16 | 0.448 | n/a | n/a | n/a | n/a
2009-09-10 | 0.341 | n/a | n/a | n/a | n/a
2009-10-06 | 0.824 | n/a | n/a | n/a | n/a
2010-03-25 | 2.262 | n/a | n/a | n/a | n/a
2010-09-02 | 1.76 | n/a | n/a | n/a | n/a
2010-11-26 | 0.897 | n/a | n/a | n/a | n/a
2011-02-14 | 0.214 | n/a | n/a | n/a | n/a
2011-04-28 | 1.407 | n/a | n/a | n/a | n/a
2013-07-30 | 2.134 | n/a | n/a | n/a | n/a
2014-06-06 | 0.251 | n/a | n/a | n/a | n/a
2014-07-09 | 0.214 | 0.003 | -0.001 | 1.3 | 100.6
2014-10-14 | 0.253 | 0.005 | 0.003 | 4.6 | 95.5
2015-03-26 | 0.191 | 0.005 | <DL | 2.8 | 93
2015-04-03 | 0.795 | 0.003 | <DL | -2.7 | 87.6
2015-05-29 | 0.251 | 0.001 | <DL | -1.2 | 97.5
2015-06-19 | 0.821 | 0.003 | <DL | -2.4 | 92.3
2015-07-02 | 1.064 | 0.003 | <DL | -2.4 | 92.3
2015-11-17 | 0.246 | 0.003 | <DL | 2.9 | 94.6
2016-05-17 | 0.26 | 0.002 | 0 | 2.9 | 94.2
2016-07-01 | 0.764 | 0.002 | 0.002 | 1.2 | 9.2
2016-10-05 | 0.352 | 0.002 | 0.001 | 7 | 98.6
2017-03-25 | 0.775 | 0.003 | 0.001 | 1.8 | 93.5
2017-04-17 | 0.523 | 0.002 | 0.001 | 2.2 | 102.8
2017-05-04 | 0.112 | 0.002 | 0.001 | 2.2 | 102.8
2017-08-18 | 0.478 | 0.003 | 0.003 | 1.6 | 96.9
2018-02-21 | 0.169 | 0.004 | <DL | 1.8 | 106.3
2018-03-24 | 0.578
2018-03-27 | 1.578 | 0.001 | <DL | 13.4 | 107.1
2018-03-24 | 0.117
2018-05-03 | 1.117 | 0.002 | <DL | 4.9 | 102.3
2018-06-26 | 0.038 | 0.004 | <DL | 0.5 | 96.2
2018-08-11 | 0.354 | 0.001 | <DL | 3.1 | 100.6
n/a = This information not provided by OEWRI
<DL = under the detection limit

## Sheet10
SAMPLE DATE |  | n/a | 2009-02-27 | n/a | SAMPLE DATE |  | n/a | 2009-03-25 | n/a | SAMPLE DATE |  | n/a | 2009-04-20 | 2009-04-20 | SAMPLE DATE |  | n/a | 2009-04-30 | n/a | SAMPLE DATE |  | n/a | n.a | 2009-05-01 | SAMPLE DATE |  | n/a | 2009-06-16 | 2009-06-16 | SAMPLE DATE |  | n/a | 2009-09-10 | 2009-09-10 | SAMPLE DATE |  | n/a | 2009-10-06 | 2009-10-06 | SAMPLE DATE |  | 2009-10-09 | n/a | n/a
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen | mg/L | nsc | 1.45 | nsc | Total Nitrogen | mg/L | nsc | 1.34 | nsc | Total Nitrogen | mg/L | nsc | 0.94 | 0.78 | Total Nitrogen | mg/L | nsc | 1.65 | nsc | Total Nitrogen | mg/L | nsc | nsc | 1.14 | Total Nitrogen | mg/L | nsc | 0.82 | 1.39 | Total Nitrogen | mg/L | nsc | 2.32 | 1.93 | Total Nitrogen | mg/L | ncs | 2.72 | 2.19 | Total Nitrogen | mg/L | 1.71 | nsc | nsc
Total Phosphorus | mg/L | nsc | 0.2 | nsc | Total Phosphorus | mg/L | nsc | 0.167 | nsc | Total Phosphorus | mg/L | nsc | 0.101 | 0.389 | Total Phosphorus | mg/L | nsc | 0.08 | nsc | Total Phosphorus | mg/L | nsc | nsc | 0.833 | Total Phosphorus | mg/L | nsc | 0.236 | 0.448 | Total Phosphorus | mg/L | nsc | 0.125 | 0.341 | Total Phosphorus | mg/L | ncs | 0.368 | 0.824 | Total Phosphorus | mg/L | 0.179 | nsc | nsc
Chloride | mg/L | nsc | 3.93 | nsc | Chloride | mg/L | nsc | 3.95 | nsc | Chloride | mg/L | nsc | 3.01 | 4.02 | Chloride | mg/L | nsc | 3.06 | nsc | Chloride | mg/L | nsc | nsc | 11.1 | Chloride | mg/L | nsc | 5.03 | 9.41 | Chloride | mg/L | nsc | 44.5 | 2.28 | Chloride | mg/L | ncs | 1.23 | 3.29 | Chloride | mg/L | 7.46 | nsc | nsc
Specific Conductivity | mS/cm | nsc | 7 | nsc | Specific Conductivity | mS/cm | nsc | 12.5 | nsc | Specific Conductivity | mS/cm | nsc | 13.7 | 24.5 | Specific Conductivity | mS/cm | nsc | 19.3 | nsc | Specific Conductivity | mS/cm | nsc | nsc | 27.7 | Specific Conductivity | mS/cm | nsc | 18.9 | 35.8 | Specific Conductivity | mS/cm | nsc | 17.6 | 11.6 | Specific Conductivity | mS/cm | ncs | 9.6 | 15.7 | Specific Conductivity | mS/cm | 27.2 | nsc | nsc
ph | units | nsc | 6.4 | nsc | ph | units | nsc | 7.01 | nsc | ph | units | nsc | 7.33 | 7.26 | ph | units | nsc | 8.14 | nsc | ph | units | nsc | nsc | 7.03 | ph | units | nsc | 6.47 | 6.53 | ph | units | nsc | 7.07 | 8.18 | ph | units | ncs | 6.45 | 6.26 | ph | units | 5.89 | nsc | nsc
Total Suspended Solids | mg/L | nsc | 590.5 | nsc | Total Suspended Solids | mg/L | nsc | 193.6 | nsc | Total Suspended Solids | mg/L | nsc | 36.7 | 700 | Total Suspended Solids | mg/L | nsc | 90 | nsc | Total Suspended Solids | mg/L | nsc | nsc | 1660 | Total Suspended Solids | mg/L | nsc | 420 | 1120 | Total Suspended Solids | mg/L | nsc | 13.7 | 153.5 | Total Suspended Solids | mg/L | ncs | 231 | 26 | Total Suspended Solids | mg/L | 4.7 | nsc | nsc
SAMPLE DATE |  | n/a | 2010-02-21 | n/a | SAMPLE DATE |  | 2010-03-21 | 2010-03-25 | 2010-03-25 | SAMPLE DATE |  | 2010-09-02 | n/a | 2010-09-02 | SAMPLE DATE |  | n/a | 2010-09-24 | n/a | SAMPLE DATE |  | n/a | n/a | 2010-11-26
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | nsc | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen | mg/L | nsc | 38.02 | nsc | Total Nitrogen | mg/L | 1.96 | 2.02 | 4.32 | Total Nitrogen | mg/L | 3.21 | nsc | 1.15 | Total Nitrogen | mg/L | nsc | 3.68 | nsc | Total Nitrogen | mg/L | nsc | nsc | 0.93
Total Phosphorus | mg/L | nsc | 1.964 | nsc | Total Phosphorus | mg/L | 0.062 | 0.257 | 2.262 | Total Phosphorus | mg/L | 0.088 | nsc | 1.76 | Total Phosphorus | mg/L | nsc | 0.238 | nsc | Total Phosphorus | mg/L | nsc | nsc | 0.897
Chloride | mg/L | nsc | 99.85 | nsc | Chloride | mg/L | 10.31 | 26.48 | 6.733 | Chloride | mg/L | 5.55 | nsc | 0.26 | Chloride | mg/L | nsc | 5.24 | nsc | Chloride | mg/L | nsc | nsc | 5.3
Specific Conductivity | mS/cm | nsc | 97.6 | nsc | Specific Conductivity | mS/cm | 25.8 | 32.6 | 36.3 | Specific Conductivity | mS/cm | 55.5 | nsc | 15.7 | Specific Conductivity | mS/cm | nsc | 12 | nsc | Specific Conductivity | mS/cm | nsc | nsc | 16
ph | units | nsc | 6.73 | nsc | ph | units | 7.98 | 5.83 | 5.93 | ph | units | 6.03 | nsc | 6.15 | ph | units | nsc | 8.98 | nsc | ph | units | nsc | nsc | 8.17
Total Suspended Solids | mg/L | nsc | 62.8 | nsc | Total Suspended Solids | mg/L | 11.5 | 187 | 4688 | Total Suspended Solids | mg/L | 4.3 | nsc | 11820 | Total Suspended Solids | mg/L | nsc | 17.5 | nsc | Total Suspended Solids | mg/L | nsc | nsc | 529
SAMPLE DATE |  | n/a | n/a | 2011-02-14 | SAMPLE DATE |  | n/a | 2011-02-26 | n/a | SAMPLE DATE |  | n/a | 2011-03-03 | n/a | SAMPLE DATE |  | 2011-04-28 | n/a | 2011-04-28 | SAMPLE DATE |  | n/a | 2011-08-08 | n/a | SAMPLE DATE |  | n/a | 2011-10-19 | n/a | SAMPLE DATE |  | 2011-11-10 | n/a | n/a
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen | mg/L | nsc | nsc | 1.07 | Total Nitrogen | mg/L | nsc | 0.24 | nsc | Total Nitrogen | mg/L | nsc | 0.84 | nsc | Total Nitrogen | mg/L | 6.96 | nsc | 5.77 | Total Nitrogen | mg/L | nsc | 2.19 | nsc | Total Nitrogen | mg/L | nsc | 1.8 | nsc | Total Nitrogen | mg/L | 2.39 | nsc | nsc
Total Phosphorus | mg/L | nsc | nsc | 0.214 | Total Phosphorus | mg/L | nsc | 0.27 | nsc | Total Phosphorus | mg/L | nsc | 0.463 | nsc | Total Phosphorus | mg/L | 1.176 | nsc | 1.407 | Total Phosphorus | mg/L | nsc | 0.336 | nsc | Total Phosphorus | mg/L | nsc | 0.281 | nsc | Total Phosphorus | mg/L | 0.639 | nsc | nsc
Chloride | mg/L | nsc | nsc | 8.2 | Chloride | mg/L | nsc | 88.16 | nsc | Chloride | mg/L | nsc | 3.825 | nsc | Chloride | mg/L | 6.66 | nsc | 2.02 | Chloride | mg/L | nsc | 1.97 | nsc | Chloride | mg/L | nsc | 4.69 | nsc | Chloride | mg/L | 4.89 | nsc | nsc
Specific Conductivity | mS/cm | nsc | nsc | 34.6 | Specific Conductivity | mS/cm | nsc | 63.2 | nsc | Specific Conductivity | mS/cm | nsc | 11.6 | nsc | Specific Conductivity | mS/cm | 40.3 | nsc | 23.1 | Specific Conductivity | mS/cm | nsc | 17.3 | nsc | Specific Conductivity | mS/cm | nsc | 17.2 | nsc | Specific Conductivity | mS/cm | 13.3 | nsc | nsc
ph | units | nsc | nsc | 7.58 | ph | units | nsc | 6.97 | nsc | ph | units | nsc | 6.69 | nsc | ph | units | 6.91 | nsc | 6.83 | ph | units | nsc | 6.89 | nsc | ph | units | nsc | 6.52 | nsc | ph | units | 6.73 | nsc | nsc
Total Suspended Solids | mg/L | nsc | nsc | 127 | Total Suspended Solids | mg/L | nsc | 72 | nsc | Total Suspended Solids | mg/L | nsc | 56.7 | nsc | Total Suspended Solids | mg/L | 1308 | nsc | 5080 | Total Suspended Solids | mg/L | nsc | 40 | nsc | Total Suspended Solids | mg/L | nsc | 2.5 | nsc | Total Suspended Solids | mg/L | 14 | nsc | nsc
SAMPLE DATE |  | n/a | 2012-03-01 | n/a | SAMPLE DATE |  | n/a | 2012-08-17 | n/a | SAMPLE DATE |  | n/a | 2012-09-17 | n/a
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen | mg/L | nsc | 1.59 | nsc | Total Nitrogen | mg/L | nsc | 2.11 | nsc | Total Nitrogen | mg/L | nsc | nsc | 2.62
Total Phosphorus | mg/L | nsc | 0.334 | nsc | Total Phosphorus | mg/L | nsc | 0.346 | nsc | Total Phosphorus | mg/L | nsc | nsc | 0.932
Chloride | mg/L | nsc | 3.5 | nsc | Chloride | mg/L | nsc | 8 | nsc | Chloride | mg/L | nsc | nsc | <DL
Specific Conductivity | mS/cm | nsc | 7.1 | nsc | Specific Conductivity | mS/cm | nsc | 14.1 | nsc | Specific Conductivity | mS/cm | nsc | nsc | 13
ph | units | nsc | 8.57 | nsc | ph | units | nsc | 6.7 | nsc | ph | units | nsc | nsc | 7.7
Total Suspended Solids | mg/L | nsc | 256.5 | nsc | Total Suspended Solids | mg/L | nsc | 204 | nsc | Total Suspended Solids | mg/L | nsc | nsc | 646
SAMPLE DATE |  | n/a | 2013-07-26 | n/a | SAMPLE DATE |  | 2013-07-30 | n/a | 2013-07-30
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen | mg/L | nsc | 0.97 | nsc | Total Nitrogen | mg/L | 1.8 | nsc | 3.37
Total Phosphorus | mg/L | nsc | 0.378 | nsc | Total Phosphorus | mg/L | 0.483 | nsc | 2.134
Chloride | mg/L | nsc | 18.1 | nsc | Chloride | mg/L | 1.7 | nsc | 5.4
Specific Conductivity | mS/cm | nsc | 126.5 | nsc | Specific Conductivity | mS/cm | 95.2 | nsc | 260
ph | units | nsc | 7.9 | nsc | ph | units | 7.5 | nsc | 7.4
Total Suspended Solids | mg/L | nsc | 20 | nsc | Total Suspended Solids | mg/L | 228 | nsc | 1262
SAMPLE DATE |  | n/a | 2014-04-28 | n/a | SAMPLE DATE |  | 2014-06-06 | n/a | 2014-06-06 | SAMPLE DATE |  | n/a | 2014-06-24 | n/a | SAMPLE DATE |  | 2014-07-09 | n/a | 2014-07-09 | SAMPLE DATE |  | n/a | 2014-10-03 | n/a | SAMPLE DATE |  | n/a | n/a | 2014-10-14
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen | mg/L | nsc | 3.82 | nsc | Total Nitrogen | mg/L | 2.84 | nsc | 1.68 | Total Nitrogen* | mg/L | nsc | 1.58* | nsc | Total Nitrogen* | mg/L | 1.67 | nsc | 1.84 | Total Nitrogen* | mg/L | nsc | 2.51 | nsc | Total Nitrogen* | mg/L | nsc | nsc | 1.08
Total Phosphorus | mg/L | nsc | 0.811 | nsc | Total Phosphorus | mg/L | 0.114 | nsc | 0.251 | Total Phosphorus* | mg/L | nsc | 0.182 | nsc | Total Phosphorus* | mg/L | 0.261 | nsc | 0.214 | Total Phosphorus* | mg/L | nsc | 0.425 | nsc | Total Phosphorus* | mg/L | nsc | nsc | 0.253
Chloride | mg/L | nsc | 39 | nsc | Chloride | mg/L | 43.2 | nsc | 3.4 | Chloride | mg/L | nsc | 28.6 | nsc | Chloride | mg/L | 1.6 | nsc | 0.9 | Chloride | mg/L | nsc | 7.9 | nsc | Chloride | mg/L | nsc | nsc | 2.6
Specific Conductivity | mS/cm | nsc | 386 | nsc | Specific Conductivity | mS/cm | 52 | nsc | 154 | Specific Conductivity | mS/cm | nsc | 199 | nsc | Specific Conductivity | mS/cm | 51 | nsc | 118 | Specific Conductivity | mS/cm | nsc | 213 | nsc | Specific Conductivity | mS/cm | nsc | nsc | 124.2
ph | units | nsc | 7.1 | nsc | ph | units | 6.616.7 | nsc | 6.2 | ph | units | nsc | 6.89 | nsc | ph | units | 7.1 | nsc | 7.3 | ph | units | nsc | 5.8 | nsc | ph | units | nsc | nsc | 7.5
Total Suspended Solids | mg/L | nsc | 527 | nsc | Total Suspended Solids | mg/L | n/a | nsc | 21 | Total Suspended Solids | mg/L | nsc | 109.2 | nsc | Total Suspended Solids | mg/L | 104.7 | nsc | 9 | Total Suspended Solids | mg/L | nsc | 28.7 | nsc | Total Suspended Solids | mg/L | nsc | nsc | 351
SAMPLE DATE |  | n/a | 2015-03-10 | n/a | SAMPLE DATE |  | 2015-03-26 | 2015-03-26 | 2015-03-26 | SAMPLE DATE |  | 2015-04-03 | 2015-04-03 | 2015-04-03 | SAMPLE DATE |  | 2015-05-31 | 2015-05-08 | 2015-05-29 | SAMPLE DATE |  | 2015-06-19 | 2015-06-15 | 2015-06-19 | SAMPLE DATE |  | 2015-07-02 | 2015-07-02 | 2015-07-02 | SAMPLE DATE |  | n/a | 2015-11-06 | 2015-11-17
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen* | mg/L | nsc | 2.34 | nsc | Total Nitrogen* | mg/L | 1.96 | 3.09 | 1.54 | Total Nitrogen* | mg/L | 1.91 | 2.3 | 2.15 | Total Nitrogen* | mg/L | 3.08 | 2.9 | 1.82 | Total Nitrogen* | mg/L | 2.54 | 3.66 | 1.83 | Total Nitrogen* | mg/L | 2.07 | 1.98 | 2.59 | Total Nitrogen* | mg/L | nsc | 0.96 | 1.23
Total Phosphorus* | mg/L | nsc | 0.11 | nsc | Total Phosphorus* | mg/L | 0.056 | 2.027 | 0.191 | Total Phosphorus* | mg/L | 0.121 | 0.448 | 0.795 | Total Phosphorus* | mg/L | 0.443 | 0.362 | 0.251 | Total Phosphorus* | mg/L | 1.288 | 0.388 | 0.821 | Total Phosphorus* | mg/L | 0.566 | 0.463 | 1.064 | Total Phosphorus* | mg/L | nsc | 0.169 | 0.246
Chloride | mg/L | nsc | 32.4 | nsc | Chloride | mg/L | 13.3 | 20.2 | 7.1 | Chloride | mg/L | 12.5 | 21.2 | 4.4 | Chloride | mg/L | 8.6 | 11.8 | 1 | Chloride | mg/L | 7.1 | 359.7 | 3.1 | Chloride | mg/L | 5.8 | 23.1 | 5.4 | Chloride | mg/L | nsc | 24 | 2.3
Specific Conductivity | mS/cm | nsc | 281 | nsc | Specific Conductivity | mS/cm | 355 | 172.2 | 235 | Specific Conductivity | mS/cm | 313 | 183.9 | 149.2 | Specific Conductivity | mS/cm | 198.7 | 158.9 | 44.4 | Specific Conductivity | mS/cm | 230 | 1392 | 148 | Specific Conductivity | mS/cm | 88 | 137.4 | 83.3 | Specific Conductivity | mS/cm | nsc | 159 | 98.3
ph | units | nsc | 7.5 | nsc | ph | units | 7.4 | 7.9 | 8 | ph | units | 7.4 | 7.7 | 7.9 | ph | units | 6.7 | 7.7 | 5.6 | ph | units | 6.8 | 6.8 | 7.6 | ph | units | 7.8 | 7.4 | 7.2 | ph | units | nsc | 6.5 | 7
Total Suspended Solids | mg/L | nsc | 18 | nsc | Total Suspended Solids | mg/L | 6.4 | 822 | 20.5 | Total Suspended Solids | mg/L | 7 | 430 | 1050 | Total Suspended Solids | mg/L | 629 | 94 | 14 | Total Suspended Solids | mg/L | 1574 | 319 | 386 | Total Suspended Solids | mg/L | 914 | 29.2 | 2112 | Total Suspended Solids | mg/L | nsc | 30.5 | 409
SAMPLE DATE |  | n/a | 2016-02-24 | n/a | SAMPLE DATE |  | n/a | 2016-03-24 | n/a | SAMPLE DATE |  | n/a | 2016-05-12 | 2016-05-17 | SAMPLE DATE |  | 2016-07-01 | 2016-06-24 | 2016-07-01 | SAMPLE DATE |  | n/a | 2017-09-26 | 2016-10-05
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen* | mg/L | nsc | 2.52 | nsc | Total Nitrogen* | mg/L | nsc | 2.3 | nsc | Total Nitrogen* | mg/L | nsc | 5.24 | 1.77 | Total Nitrogen* | mg/L | 1.15 | 0.31 | 1.94 | Total Nitrogen* | mg/L | nsc | 2.31 | 1.19
Total Phosphorus* | mg/L | nsc | 0.387 | nsc | Total Phosphorus* | mg/L | nsc | 0.324 | nsc | Total Phosphorus* | mg/L | nsc | 0.35 | 0.26 | Total Phosphorus* | mg/L | 1.137 | 0.827 | 0.764 | Total Phosphorus* | mg/L | nsc | 0.337 | 0.352
Chloride | mg/L | nsc | 318.5 | nsc | Chloride | mg/L | nsc | 8.8 | nsc | Chloride | mg/L | nsc | 20 | 4.5 | Chloride | mg/L | 3.6 | 7.6 | 3 | Chloride | mg/L | nsc | 2.9 | 1.1
Specific Conductivity | mS/cm | nsc | 1350 | nsc | Specific Conductivity | mS/cm | nsc | 117.3 | nsc | Specific Conductivity | mS/cm | nsc | 189.9 | 111.1 | Specific Conductivity | mS/cm | 125.3 | 215 | 163.7 | Specific Conductivity | mS/cm | nsc | 95.3 | 38.5
ph | units | nsc | 7.2 | nsc | ph | units | nsc | 7 | nsc | ph | units | nsc | 6.9 | 7.7 | ph | units | 6.7 | 6.6 | 7 | ph | units | nsc | 6.7 | 6.3
Total Suspended Solids | mg/L | nsc | 323.3 | nsc | Total Suspended Solids | mg/L | nsc | 129.3 | nsc | Total Suspended Solids | mg/L | nsc | 35.5 | 402 | Total Suspended Solids | mg/L | 175 | 34.7 | 922 | Total Suspended Solids | mg/L | nsc | 97.5 | 8
SAMPLE DATE |  | n/a | 2017-01-17 | n/a | SAMPLE DATE |  | n/a | 2017-03-25 | 2017-03-25 | SAMPLE DATE |  | 2017-04-29 | n/a | 2017-04-17 | SAMPLE DATE |  | 2017-05-02 | 2017-05-04 | 2017-05-04 | SAMPLE DATE |  | n/a | 2017-07-28 | 2017-08-18 | SAMPLE DATE |  | n/a | 2017-10-15 | n/a
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N1 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | N3 | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | N3 | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen* | mg/L | nsc | 0.62 | nsc | Total Nitrogen* | mg/L | nsc | 0.27 | 0.74 | Total Nitrogen* | mg/L | 1.37 | n/a | 1.88 | Total Nitrogen* | mg/L | 1.59 | 1.73 | 0.97 | Total Nitrogen* | mg/L | nsc | 1.95 | 1.36 | Total Nitrogen* | mg/L | nsc | 0.21 | nsc
Total Phosphorus* | mg/L | nsc | 0.125 | nsc | Total Phosphorus* | mg/L | nsc | 0.771 | 0.775 | Total Phosphorus* | mg/L | 0.172 | n/a | 0.523 | Total Phosphorus* | mg/L | 0.032 | 0.032 | 0.112 | Total Phosphorus* | mg/L | nsc | 0.298 | 0.478 | Total Phosphorus* | mg/L | nsc | 0.421 | nsc
Chloride | mg/L | nsc | 109 | nsc | Chloride | mg/L | nsc | 15.2 | 2.9 | Chloride | mg/L | 5.6 | n/a | 2 | Chloride | mg/L | 7.2 | 7.2 | 3.5 | Chloride | mg/L | nsc | 6.12 | 2.61 | Chloride | mg/L | nsc | 5.2 | nsc
Specific Conductivity | mS/cm | nsc | 446 | nsc | Specific Conductivity | mS/cm | nsc | 159 | 135 | Specific Conductivity | mS/cm | 215 | n/a | 115 | Specific Conductivity | mS/cm | 338 | 341 | 195 | Specific Conductivity | mS/cm | nsc | 165 | 165 | Specific Conductivity | mS/cm | nsc | 156 | nsc
ph | units | nsc | 7.7 | nsc | ph | units | nsc | 7.7 | 7.5 | ph | units | 7.1 | n/a | 7.2 | ph | units | 7 | 7.3 | 7.3 | ph | units | nsc | 6.8 | 6.8 | ph | units | nsc | 6.2 | nsc
Total Suspended Solids | mg/L | nsc | 22.8 | nsc | Total Suspended Solids | mg/L | nsc | 1207 | 621 | Total Suspended Solids | mg/L | 28 | n/a | 315 | Total Suspended Solids | mg/L | 0 | 0.5 | 22 | Total Suspended Solids | mg/L | nsc | 346 | 258 | Total Suspended Solids | mg/L | nsc | 110 | nsc
SAMPLE DATE |  | 2018-02-21 | 2018-01-08 | 2018-02-21 | SAMPLE DATE |  | 2018-03-28 | 2018-03-28 | 2018-03-24 | SAMPLE DATE |  | n/a | 2018-03-28 | 2018-03-24 | SAMPLE DATE |  | 2018-08-31 | 2018-06-21 | 2018-06-26
SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3 | SAMPLE SITE |  | N1 | N2 | N3
PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS |  |  |  | PARAMETER | UNITS
Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a | Rainfall | Inches | n/a | n/a | n/a
Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a | Discharge | CFS | n/a | n/a | n/a
Total Nitrogen* | mg/L | 1.73 | 2.86 | 1.31 | Total Nitrogen* | mg/L | 2.28 | 1.71 | 1.88 | Total Nitrogen* | mg/L | nsc | 1.98 | 1.23 | Total Nitrogen* | mg/L | 0.57 | 2.64 | 3.15
Total Phosphorus* | mg/L | 0.053 | 0.398 | 0.169 | Total Phosphorus* | mg/L | 0.125 | 0.379 | 0.578 | Total Phosphorus* | mg/L | nsc | 0.213 | 0.117 | Total Phosphorus* | mg/L | 0.537 | 0.394 | 0.038
Chloride | mg/L | 19.5 | 136.5 | 19 | Chloride | mg/L | 19 | 19.1 | 5.6 | Chloride | mg/L | nsc | 16.2 | 3.6 | Chloride | mg/L | 0.8 | 27.7 | 14.7
Specific Conductivity | mS/cm | 244 | 603 | 301 | Specific Conductivity | mS/cm | 426 | 189 | 152 | Specific Conductivity | mS/cm | nsc | 181 | 300 | Specific Conductivity | mS/cm | 71.9 | 247 | 428
ph | units | 5.2 | 6.7 | 7 | ph | units | 7.2 | 7.6 | 7.7 | ph | units | nsc | 7.4 | 7.9 | ph | units | 7.2 | 6.9 | 8.2
Total Suspended Solids | mg/L | 11.3 | 70.7 | 4.7 | Total Suspended Solids | mg/L | 98.7 | 507 | 845 | Total Suspended Solids | mg/L | nsc | 41.3 | 4.7 | Total Suspended Solids | mg/L | 840 | 86 | 4.7
n/a = This information not provided by OEWRI
nsc = No sample collected, this site, this date.